KW HOSPITALITY

Hotel Bakery Equipment
Master Checklist

Procurement • Technical Review • Supplier Coordination • Approval • Commissioning

| Document | Hotel Bakery Equipment Master Checklist |
| --- | --- |
| Version | 1.0 |
| Prepared for | KW Hospitality / KWHospitality.com |
| Checklist scope | 163 equipment, OS&E, utility and commissioning items |
| Project | ____________________________________________ |
| Target opening date | ____________________________________________ |

Use of this checklist

Use the checkbox column to confirm that each item has been reviewed.

Classify scope as Essential or Optional for the specific hotel production model.

Replace baseline capacities and quantities with project-approved requirements.

Record the proposed supplier and update the approval status throughout submittal review.

Verify final model data against manufacturer technical submittals, coordinated MEP drawings and local authority requirements.

Do not release equipment for production until access, utilities, tray/rack compatibility, certification, installation and commissioning responsibilities are confirmed.

Technical disclaimer: This document is a procurement framework, not a substitute for the approved design, manufacturer submittal, food-safety plan, MEP coordination, fire engineering or local code review.

MASTER EQUIPMENT CHECKLIST

Checkboxes and blank supplier/reviewer fields are intended for project use. Baseline quantities are starting points only.

1. Receiving & Ingredient Storage

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | RS-01 | Receiving platform scale | Washable commercial platform; verify calibration range and load-cell protection. | Essential | Sized for the heaviest expected ingredient delivery or container. | Electrical/battery as specified; level floor. | 1 |  | Not Submitted |
| ☐ | RS-02 | Bench scale | Stainless platform with tare, unit conversion and check-weigh functions. | Essential | Typically 15-30 kg range with suitable graduation. | Electrical or rechargeable battery. | 2 |  | Not Submitted |
| ☐ | RS-03 | Precision ingredient scale | For yeast, improvers, salt, colors and low-dose ingredients. | Essential | Resolution selected for the smallest controlled ingredient quantity. | Electrical or rechargeable battery. | 2 |  | Not Submitted |
| ☐ | RS-04 | Dry-storage shelving | Food-service shelving with adjustable tiers and cleanable, corrosion-resistant finish. | Essential | Linear shelf capacity based on maximum par stock and delivery frequency. | None; maintain code-required floor and wall clearances. | As required |  | Not Submitted |
| ☐ | RS-05 | Dunnage racks | Keep flour, sugar and boxed ingredients clear of the floor. | Essential | Sized for palletized and bulk bag storage. | None. | As required |  | Not Submitted |
| ☐ | RS-06 | Mobile ingredient bins | Food-grade bins with lids and ingredient identification labels. | Essential | Capacity matched to bag size and daily consumption. | None. | As required |  | Not Submitted |
| ☐ | RS-07 | Bulk flour bin | Sealed food-grade bin; consider dust control and ergonomic dispensing. | Optional | One or more full delivery bags plus operating reserve. | None; optional dust extraction connection. | 1 |  | Not Submitted |
| ☐ | RS-08 | Bulk sugar bin | Sealed, cleanable and clearly labeled to prevent cross-use. | Optional | Sized for peak daily production and reorder cycle. | None. | 1 |  | Not Submitted |
| ☐ | RS-09 | Lockable allergen-storage cabinet | Dedicated, labeled storage for nuts, sesame and other controlled allergens. | Essential | Sized for approved allergen inventory and segregated utensils. | None. | 1 |  | Not Submitted |
| ☐ | RS-10 | Reach-in ingredient refrigerator | Dedicated cold storage for dairy, eggs, fillings and temperature-sensitive ingredients. | Essential | Net usable volume based on maximum production par. | Electrical; condensate management; ventilation clearance. | 1 |  | Not Submitted |
| ☐ | RS-11 | Reach-in ingredient freezer | Dedicated frozen storage with accessible shelving and temperature display. | Essential | Net usable volume based on frozen ingredient and product par. | Electrical; condensate management; ventilation clearance. | 1 |  | Not Submitted |
| ☐ | RS-12 | Walk-in cooler/freezer package | Include insulated enclosure, shelving, door protection and monitored temperatures. | Optional | Room size based on storage study, aisle clearance and maximum par. | Electrical, refrigeration, drainage and ventilation as designed. | Project-specific |  | Not Submitted |

2. Ingredient Preparation & Water Control

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | IP-01 | Flour sifter | Select enclosed design where possible; confirm screen size and cleaning access. | Optional | Throughput must exceed peak mixer charging rate. | Electrical; dust extraction where required. | 1 |  | Not Submitted |
| ☐ | IP-02 | Water dosing/metering unit | Programmable delivery improves batch consistency and traceability. | Optional | Flow rate and batch volume matched to largest mixer batch. | Electrical, potable cold/hot water and drain as specified. | 1 |  | Not Submitted |
| ☐ | IP-03 | Water chiller | Controls dough temperature in warm climates and high-volume production. | Optional | Sized by water volume per batch, inlet temperature and production frequency. | Electrical, water and drain; ventilation clearance. | 1 |  | Not Submitted |
| ☐ | IP-04 | Bakery water-filtration system | Specify treatment based on local water report and manufacturer requirements. | Essential | Flow rate must support simultaneous connected bakery equipment. | Water, drain and replacement-filter access. | 1 |  | Not Submitted |
| ☐ | IP-05 | Water softener | Use where hardness can affect steam equipment, proofers or warewashing. | Optional | Sized by water hardness, peak flow and regeneration cycle. | Water, drain, electrical if automatic. | 1 |  | Not Submitted |
| ☐ | IP-06 | Ingredient dispensing/staging station | Organizes weighed ingredients by batch and reduces dosing errors. | Essential | Number of batch positions based on concurrent production plan. | None. | 1 |  | Not Submitted |
| ☐ | IP-07 | Mobile bin lifter or bag tipper | Ergonomic handling for heavy flour and sugar loads. | Optional | Rated load must exceed the heaviest bin or bag. | Electrical or hydraulic as specified; charging point if battery powered. | 1 |  | Not Submitted |
| ☐ | IP-08 | Ice machine | Use when recipes or dough-temperature control require measured ice. | Optional | Daily production and bin capacity based on peak recipe demand. | Electrical, potable water, drain and ventilation. | 1 |  | Not Submitted |

3. Mixing & Emulsifying

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | MX-01 | Spiral mixer - small batch | For bread and yeast dough; verify minimum workable batch. | Essential | Capacity based on dough weight, hydration and batches per hour. | Electrical; 1-phase or 3-phase per model. | 1 |  | Not Submitted |
| ☐ | MX-02 | Spiral mixer - production | Higher-capacity unit for banquet, resort or central-production demand. | Optional | Sized for peak dough kilograms per hour with cleaning allowance. | Electrical; typically 3-phase; floor loading and clearance. | 1 |  | Not Submitted |
| ☐ | MX-03 | Planetary mixer - countertop | For creams, fillings, batters and small pastry batches. | Essential | Bowl volume and attachment rating based on smallest recurring batch. | Electrical; countertop load and clearance. | 1 |  | Not Submitted |
| ☐ | MX-04 | Planetary mixer - floor model | General pastry production with dough hook, beater and whip. | Essential | Typically 40-60 qt class; verify product-specific maximum loads. | Electrical; often 3-phase for larger models. | 1 |  | Not Submitted |
| ☐ | MX-05 | Heavy-duty planetary mixer | Additional capacity for large banquet and dessert production. | Optional | 80 qt or project-specific; check duty cycle and bowl handling. | Electrical; 3-phase; floor loading. | 1 |  | Not Submitted |
| ☐ | MX-06 | Additional removable mixer bowls | Supports parallel preparation and reduces washing bottlenecks. | Essential | At least one additional bowl for each critical mixer. | None. | As required |  | Not Submitted |
| ☐ | MX-07 | Mixer bowl truck/dolly | Safe movement of filled bowls between mixer and workstations. | Essential | Compatible with selected bowl diameter and loaded weight. | None. | As required |  | Not Submitted |
| ☐ | MX-08 | Dough-hook attachment set | Confirm attachment is manufacturer-approved for mixer and load. | Essential | One working set plus critical spare where lead time is long. | None. | As required |  | Not Submitted |
| ☐ | MX-09 | Flat-beater/paddle attachment set | For batters, creams and fillings. | Essential | Matched to every planetary mixer bowl size. | None. | As required |  | Not Submitted |
| ☐ | MX-10 | Wire-whip attachment set | For whipping cream, meringue and aerated products. | Essential | Matched to every planetary mixer bowl size. | None. | As required |  | Not Submitted |
| ☐ | MX-11 | Immersion blender | Commercial continuous-duty model with removable shaft. | Essential | Shaft length and motor rating based on largest vessel. | Electrical. | 2 |  | Not Submitted |

4. Dough Make-up & Forming

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | DF-01 | Stainless-steel bakery worktable | Heavy-duty top, undershelf and adjustable feet or mobile casters. | Essential | Worktop length based on operators, product flow and tray staging. | None; optional convenience outlets. | As required |  | Not Submitted |
| ☐ | DF-02 | Marble or granite pastry table | Temperature-stable surface for laminated dough and chocolate work. | Essential | Surface area based on sheeting width and simultaneous operators. | None; verify structural floor loading. | 1 |  | Not Submitted |
| ☐ | DF-03 | Floor-model dough sheeter | Reversible belt, safety guards and removable flour trays. | Essential | Belt width and roller gap based on largest laminated product. | Electrical; floor space and safe operating clearance. | 1 |  | Not Submitted |
| ☐ | DF-04 | Tabletop dough sheeter | Compact supplementary unit for low-volume or satellite use. | Optional | Belt width matched to pastry product and bench space. | Electrical; stable bench. | 1 |  | Not Submitted |
| ☐ | DF-05 | Manual dough divider | Consistent portioning for rolls and small bread batches. | Essential | Piece-weight range matched to menu and peak pieces per hour. | None or electrical depending on model. | 1 |  | Not Submitted |
| ☐ | DF-06 | Automatic divider-rounder | High-output portioning and rounding for buns and rolls. | Optional | Output pieces per cycle/hour based on banquet peak. | Electrical; compressed air if specified. | 1 |  | Not Submitted |
| ☐ | DF-07 | Dough rounder | For bread production where divider and rounder are separate. | Optional | Throughput must match divider output. | Electrical. | 1 |  | Not Submitted |
| ☐ | DF-08 | Dough moulder | Forms loaves consistently and reduces manual handling. | Optional | Piece-weight range and throughput matched to bread program. | Electrical. | 1 |  | Not Submitted |
| ☐ | DF-09 | Croissant cutting station | Cutter, rolling tools and guides matched to finished product size. | Optional | Width matched to sheeter and target pieces per sheet. | None or electrical for automated cutter. | 1 |  | Not Submitted |
| ☐ | DF-10 | Bread slicer | Select slice thickness, loaf dimensions and crumb-management features. | Essential | Loaves per hour based on breakfast and banquet dispatch. | Electrical; dust/crumb collection as specified. | 1 |  | Not Submitted |
| ☐ | DF-11 | Bun or roll divider | Dedicated sizing for high-volume breakfast and banquet rolls. | Optional | Piece-weight range and hourly output matched to service demand. | Electrical or manual. | 1 |  | Not Submitted |
| ☐ | DF-12 | Tart or pie press | Improves consistency for high-volume tart shells. | Optional | Mold diameter and cycles/hour based on pastry menu. | Electrical and/or compressed air. | 1 |  | Not Submitted |
| ☐ | DF-13 | Cookie depositor | For consistent cookies, choux and selected batter products. | Optional | Deposits/hour and product-changeover time. | Electrical; compressed air if specified. | 1 |  | Not Submitted |
| ☐ | DF-14 | Mobile dough-resting bench or cabinet | Provides controlled queue between mixing, dividing and forming. | Essential | Capacity for at least one peak production wave. | None; refrigeration if controlled cabinet. | 1 |  | Not Submitted |

5. Proofing & Fermentation

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | PF-01 | Reach-in proofer | For moderate tray volumes and flexible production. | Essential | Tray capacity matched to at least one oven load. | Electrical, water and drain as specified. | 1 |  | Not Submitted |
| ☐ | PF-02 | Roll-in proofer | Accepts full mobile rack and reduces tray handling. | Optional | Rack format and capacity matched to oven system. | Electrical, water, drain and floor clearance. | 1 |  | Not Submitted |
| ☐ | PF-03 | Retarder-proofer | Supports overnight production and multiple service periods. | Essential | Capacity based on next-service tray load and production schedule. | Electrical, refrigeration, water and drain. | 1 |  | Not Submitted |
| ☐ | PF-04 | Fermentation cabinet | For controlled sourdough, preferment or specialty fermentation. | Optional | Container/tray capacity based on menu and fermentation time. | Electrical; humidity/water if specified. | 1 |  | Not Submitted |
| ☐ | PF-05 | Proofing racks | Use the selected tray standard and compatible runner spacing. | Essential | Quantity based on simultaneous proofing, staging and cooling demand. | None. | As required |  | Not Submitted |
| ☐ | PF-06 | Proofing rack covers | Food-safe washable covers for moisture and contamination control. | Essential | One per rack plus replacement reserve. | None. | As required |  | Not Submitted |
| ☐ | PF-07 | Digital temperature and humidity monitor | Independent verification of proofer conditions. | Essential | Range and accuracy suitable for proofing environment. | Battery or electrical; optional data logging. | 2 |  | Not Submitted |

6. Baking & Thermal Production

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | BT-01 | Full-size convection oven | General pastries, cookies and breakfast production. | Essential | Tray loads/hour based on bake time, recovery and peak output. | Electrical or gas; ventilation/condensate requirements by model. | 1 |  | Not Submitted |
| ☐ | BT-02 | Double-stack convection oven | Adds capacity and redundancy within limited footprint. | Optional | Combined tray loads/hour matched to peak service window. | Electrical or gas; ventilation; stacked service clearance. | 1 |  | Not Submitted |
| ☐ | BT-03 | Deck oven | For artisan bread, pizza and products requiring controlled deck heat. | Optional | Deck area and number of chambers based on product mix. | Electrical or gas; steam, water and ventilation as specified. | 1 |  | Not Submitted |
| ☐ | BT-04 | Single-rack rotary oven | High-volume, consistent production using mobile racks. | Optional | One full rack per cycle; output based on bake/recovery time. | Gas or electrical, water/steam, drain and exhaust. | 1 |  | Not Submitted |
| ☐ | BT-05 | Double-rack rotary oven | For convention hotels, resorts or central production. | Optional | Two racks per cycle; verify door, floor and loading access. | Gas or electrical, water/steam, drain and exhaust. | 1 |  | Not Submitted |
| ☐ | BT-06 | Combination oven | Flexible steam/convection production and selected bakery support. | Optional | Tray capacity and cooking modes based on shared kitchen use. | Electrical or gas, water, drain and ventilation. | 1 |  | Not Submitted |
| ☐ | BT-07 | Pizza or artisan bread oven | Dedicated high-temperature production where menu requires. | Optional | Deck size and recovery based on peak covers and product size. | Electrical, gas or solid fuel; code-specific exhaust. | 1 |  | Not Submitted |
| ☐ | BT-08 | Induction cooktop | For pastry creams, glazes, fillings and small-batch cooking. | Essential | Number of zones based on simultaneous preparation tasks. | Electrical; compatible cookware. | 1 |  | Not Submitted |
| ☐ | BT-09 | Countertop electric range or hot plate | Backup or supplementary thermal production. | Optional | Duty rating and number of zones matched to task load. | Electrical. | 1 |  | Not Submitted |
| ☐ | BT-10 | Steam-jacketed kettle | For high-volume fillings, syrups, custards and jams. | Optional | Working volume based on largest recipe batch. | Steam or electrical; water, drain and ventilation as specified. | 1 |  | Not Submitted |
| ☐ | BT-11 | Commercial microwave oven | Rapid melting, reheating and controlled small-batch tasks. | Essential | Duty cycle and cavity size based on production use. | Electrical; dedicated circuit as required. | 1 |  | Not Submitted |
| ☐ | BT-12 | Oven loader or loading device | Reduces manual handling for deck ovens. | Optional | Width and deck alignment matched to selected oven. | None or electrical/hydraulic by model. | 1 |  | Not Submitted |
| ☐ | BT-13 | Oven rack and trolley set | Use manufacturer-approved racks compatible with tray standard. | Essential | At least one active rack plus staging/cooling requirement. | None. | As required |  | Not Submitted |

7. Cooling, Refrigeration & Holding

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | CR-01 | Mobile cooling racks | Open airflow and tray compatibility for controlled cooling. | Essential | Quantity based on simultaneous oven loads and cooling time. | None. | As required |  | Not Submitted |
| ☐ | CR-02 | Cooling-rack covers | Protection during holding and internal transport. | Essential | One per rack plus replacement reserve. | None. | As required |  | Not Submitted |
| ☐ | CR-03 | Blast chiller | Rapid cooling for food safety, pastry quality and production planning. | Essential | Kg/cycle based on largest hot product batch and required pull-down time. | Electrical, refrigeration, drain and ventilation. | 1 |  | Not Submitted |
| ☐ | CR-04 | Blast freezer | For frozen dough, desserts and extended production planning. | Optional | Kg/cycle based on freezing load and target core temperature. | Electrical, refrigeration, drain and ventilation. | 1 |  | Not Submitted |
| ☐ | CR-05 | Reach-in production refrigerator | Point-of-use storage for creams, fillings and prepared components. | Essential | Usable shelf volume based on in-process par. | Electrical; condensate management and ventilation clearance. | 1 |  | Not Submitted |
| ☐ | CR-06 | Reach-in production freezer | Point-of-use storage for frozen components and products. | Essential | Usable volume based on frozen production plan. | Electrical; condensate management and ventilation clearance. | 1 |  | Not Submitted |
| ☐ | CR-07 | Undercounter refrigerator | Cold storage at make-up or finishing stations. | Essential | Drawer/door capacity matched to station mise en place. | Electrical; ventilation clearance. | As required |  | Not Submitted |
| ☐ | CR-08 | Undercounter freezer | Point-of-use frozen storage. | Optional | Capacity matched to station product range. | Electrical; ventilation clearance. | As required |  | Not Submitted |
| ☐ | CR-09 | Refrigerated pastry worktable | Integrated worktop and cold storage for high-use ingredients. | Optional | Length and door/drawer layout based on operators and menu. | Electrical; condensate and ventilation. | 1 |  | Not Submitted |
| ☐ | CR-10 | Refrigerated ingredient rail | Controlled toppings and filling ingredients at finishing station. | Optional | Pan count and temperature range based on menu. | Electrical; ventilation clearance. | 1 |  | Not Submitted |
| ☐ | CR-11 | Heated holding cabinet | Short-term holding for selected bread and banquet products. | Optional | Tray/rack capacity based on dispatch wave. | Electrical; optional humidity/water. | 1 |  | Not Submitted |
| ☐ | CR-12 | Temperature data logger | Independent traceability for cold storage and critical processes. | Essential | Number of monitored zones and required reporting interval. | Battery/electrical; network optional. | As required |  | Not Submitted |

8. Pastry Finishing, Decorating & Chocolate

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | PD-01 | Refrigerated finishing counter | Cold worktop storage for creams, fruits and finished components. | Essential | Length and refrigerated volume based on simultaneous staff. | Electrical; condensate and ventilation. | 1 |  | Not Submitted |
| ☐ | PD-02 | Stainless-steel finishing table | Dedicated clean area for final assembly and decoration. | Essential | Worktop area based on product mix and dispatch peaks. | None; optional convenience outlets. | 1 |  | Not Submitted |
| ☐ | PD-03 | Chocolate tempering machine | Controlled tempering for couverture and decorative work. | Optional | Bowl/tank capacity based on largest chocolate batch. | Electrical. | 1 |  | Not Submitted |
| ☐ | PD-04 | Chocolate enrober | High-volume coating for pralines, cakes or bars. | Optional | Belt width and kg/hour based on product program. | Electrical; controlled ambient conditions. | 1 |  | Not Submitted |
| ☐ | PD-05 | Food-grade airbrush or spray system | For cocoa butter, glaze and decorative spraying. | Optional | Gun count and compressor capacity based on operators. | Electrical and food-grade compressed air; extraction as required. | 1 |  | Not Submitted |
| ☐ | PD-06 | Piston depositor or filling machine | Consistent deposits for creams, jams and batters. | Optional | Deposit range and cycles/minute matched to products. | Electrical and/or compressed air. | 1 |  | Not Submitted |
| ☐ | PD-07 | Glazing machine | Controlled coating for high-volume pastry production. | Optional | Belt width and output matched to production line. | Electrical; water/drain for cleaning if specified. | 1 |  | Not Submitted |
| ☐ | PD-08 | Cream whipping machine | Consistent whipped cream for high-volume finishing. | Optional | Liters/hour based on peak finishing requirement. | Electrical; refrigerated feed depending on model. | 1 |  | Not Submitted |
| ☐ | PD-09 | Fruit slicer or cutter | Consistent decorative fruit preparation. | Optional | Piece size and hourly output based on menu. | Electrical or manual. | 1 |  | Not Submitted |
| ☐ | PD-10 | Cake turntables | Stable, cleanable turntables for finishing and decoration. | Essential | One per active decorator plus reserve. | None. | As required |  | Not Submitted |
| ☐ | PD-11 | Chocolate melting tank | Controlled melting and holding without repeated microwave use. | Optional | Working volume based on chocolate production batch. | Electrical. | 1 |  | Not Submitted |

9. Bakeware, Trays & Racks

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | BR-01 | Primary bakery trays or sheet pans | Adopt one documented standard across ovens, proofers and racks. | Essential | Quantity based on peak in-process trays plus cleaning reserve. | None. | As required |  | Not Submitted |
| ☐ | BR-02 | Perforated bakery trays | For products requiring improved airflow and base texture. | Essential | Quantity based on product mix and peak tray demand. | None. | As required |  | Not Submitted |
| ☐ | BR-03 | Baguette trays | Perforation and channel dimensions matched to baguette size. | Optional | Enough for maximum simultaneous proof and bake load. | None. | As required |  | Not Submitted |
| ☐ | BR-04 | Bread loaf pans | Material, coating and volume matched to loaf specification. | Essential | Quantity based on peak loaf batch plus cooling/cleaning reserve. | None. | As required |  | Not Submitted |
| ☐ | BR-05 | Pullman pans with lids | For uniform sandwich loaves where required. | Optional | Quantity based on menu and peak batch. | None. | As required |  | Not Submitted |
| ☐ | BR-06 | Cake pans - assorted sizes | Standardize diameters and depths to menu and portioning. | Essential | At least two complete peak-batch sets per core size. | None. | As required |  | Not Submitted |
| ☐ | BR-07 | Muffin and cupcake trays | Cavity size, coating and tray dimensions to match oven standard. | Essential | Quantity based on breakfast and banquet peak. | None. | As required |  | Not Submitted |
| ☐ | BR-08 | Tart rings and molds | Standardize sizes for plating, production and replacement. | Essential | Sets based on maximum simultaneous production. | None. | As required |  | Not Submitted |
| ☐ | BR-09 | Pie and quiche pans | Specify diameter, depth, material and removable-base requirement. | Optional | Quantity based on savory and pastry menu. | None. | As required |  | Not Submitted |
| ☐ | BR-10 | Silicone baking mats | Food-grade, heat-rated and matched to primary tray size. | Essential | One per active tray plus cleaning reserve. | None. | As required |  | Not Submitted |
| ☐ | BR-11 | Parchment dispenser and cutter | Controlled dispensing improves speed and reduces waste. | Essential | Width matched to primary tray standard. | None. | 1 |  | Not Submitted |
| ☐ | BR-12 | Cooling grids | Compatible with tray size and finished product dimensions. | Essential | Quantity based on maximum simultaneous cooling load. | None. | As required |  | Not Submitted |
| ☐ | BR-13 | Proofing baskets or bannetons | Material and size matched to artisan bread program. | Optional | Quantity based on longest proof cycle and peak batch. | None. | As required |  | Not Submitted |
| ☐ | BR-14 | Mobile speed racks | Runner spacing and wheel specification matched to site conditions. | Essential | Based on simultaneous proofing, baking, cooling and transport. | None. | As required |  | Not Submitted |
| ☐ | BR-15 | Tray storage rack | Keeps clean trays organized and protected. | Essential | Capacity for clean tray inventory by type. | None. | As required |  | Not Submitted |
| ☐ | BR-16 | Cake carriers and transport boxes | Reusable, cleanable and sized to standard cake formats. | Essential | Quantity based on banquet and outlet dispatch peaks. | None. | As required |  | Not Submitted |

10. Bakery Smallwares & Measurement

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | SM-01 | Mixing-bowl set | Stainless bowls in standardized nested sizes. | Essential | Sets based on simultaneous recipes and washing turnaround. | None. | As required |  | Not Submitted |
| ☐ | SM-02 | Measuring jugs, cups and spoons | Use clearly graduated food-safe sets. | Essential | One complete set per production station. | None. | As required |  | Not Submitted |
| ☐ | SM-03 | Dough scrapers and bench knives | Include rigid and flexible types with color coding where needed. | Essential | One set per baker plus reserve. | None. | As required |  | Not Submitted |
| ☐ | SM-04 | Bowl scrapers and spatulas | Heat-resistant food-grade materials in multiple sizes. | Essential | One working set per mixer/finishing station. | None. | As required |  | Not Submitted |
| ☐ | SM-05 | Whisks | Multiple lengths and wire gauges for batch sizes. | Essential | One set per pastry station. | None. | As required |  | Not Submitted |
| ☐ | SM-06 | Pastry brushes | Separate sets for egg wash, butter and allergen-controlled tasks. | Essential | Color-coded sets based on production zones. | None. | As required |  | Not Submitted |
| ☐ | SM-07 | Rolling pins | Straight, tapered and specialty types as required. | Essential | One per active bench plus reserve. | None. | As required |  | Not Submitted |
| ☐ | SM-08 | Piping bags and nozzle sets | Reusable and disposable options with organized storage. | Essential | Sets based on decorators and menu complexity. | None. | As required |  | Not Submitted |
| ☐ | SM-09 | Bread knives and slicing knives | Commercial-grade, replaceable and stored safely. | Essential | One per station plus sharpened reserve. | None. | As required |  | Not Submitted |
| ☐ | SM-10 | Scoring blades and lames | Controlled blade storage and disposal required. | Essential | One per bread station plus replacement blades. | None. | As required |  | Not Submitted |
| ☐ | SM-11 | Portion scoops and dishers | Standardize sizes to recipe yield and portion control. | Essential | Full approved size range used by the menu. | None. | As required |  | Not Submitted |
| ☐ | SM-12 | Ingredient scoops | Dedicated, labeled scoops kept with ingredient bins. | Essential | One per bulk ingredient plus cleaning reserve. | None. | As required |  | Not Submitted |
| ☐ | SM-13 | Sieves and strainers | Multiple mesh sizes for flour, icing sugar and sauces. | Essential | One set per prep area. | None. | As required |  | Not Submitted |
| ☐ | SM-14 | Probe thermometers | Calibratable and suitable for food-contact use. | Essential | One per production zone plus calibrated reserve. | Battery. | As required |  | Not Submitted |
| ☐ | SM-15 | Infrared thermometer | For rapid surface checks; not a substitute for core measurements. | Essential | Temperature range suitable for refrigeration and baking checks. | Battery. | 1 |  | Not Submitted |
| ☐ | SM-16 | Digital timers | Multi-channel units for ovens, proofing and cooling tasks. | Essential | Number of simultaneous timed processes. | Battery/electrical. | As required |  | Not Submitted |
| ☐ | SM-17 | Color-coded allergen tool sets | Dedicated utensils, containers and brushes for controlled recipes. | Essential | One complete set per declared allergen-control program. | None. | As required |  | Not Submitted |
| ☐ | SM-18 | Label printer and date-coding system | Water-resistant labels with batch, date and allergen information. | Essential | Print volume based on production lots and storage locations. | Electrical/network optional. | 1 |  | Not Submitted |

11. Warewashing, Sanitation & Waste

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | WS-01 | Dedicated hand-wash sink | Hands-free controls where specified; include soap and towel dispensers. | Essential | Quantity and location according to workflow and local code. | Hot/cold water, drain and wall protection. | As required |  | Not Submitted |
| ☐ | WS-02 | Three-compartment sink | For manual wash, rinse and sanitize procedures. | Essential | Bowl size must accommodate largest smallware or pan. | Hot/cold water, drain and grease/waste connection as required. | 1 |  | Not Submitted |
| ☐ | WS-03 | Pot-wash sink | Deep bowls and reinforced construction for mixer bowls and large utensils. | Essential | Sized for largest bowl, tray or removable equipment part. | Hot/cold water, drain and pre-rinse connection. | 1 |  | Not Submitted |
| ☐ | WS-04 | Pre-rinse spray unit | Commercial hose and spray valve with serviceable fittings. | Essential | Reach and flow suitable for the wash sink. | Hot/cold water; backflow protection as required. | 1 |  | Not Submitted |
| ☐ | WS-05 | Undercounter dishwasher | For low-to-moderate smallware loads or satellite bakery. | Optional | Racks/hour based on utensil and smallware turnover. | Electrical, hot/cold water, drain, chemicals and ventilation. | 1 |  | Not Submitted |
| ☐ | WS-06 | Hood-type dishwasher | Higher-throughput option for trays and bakery utensils. | Optional | Racks/hour based on peak cleaning load. | Electrical or steam, water, drain, chemicals and hood as required. | 1 |  | Not Submitted |
| ☐ | WS-07 | Pot and utensil washer | For mixer bowls, trays and large bakery tools. | Optional | Chamber size and cycles/hour based on largest items. | Electrical/steam, water, drain, chemicals and ventilation. | 1 |  | Not Submitted |
| ☐ | WS-08 | Mobile drying rack | Clean separation from dirty return and adequate airflow. | Essential | Capacity for one peak wash cycle. | None. | 1 |  | Not Submitted |
| ☐ | WS-09 | Chemical dosing system | Locked, labeled and calibrated for detergents and sanitizers. | Essential | Channels and flow matched to connected warewashing equipment. | Electrical, water and chemical feed. | 1 |  | Not Submitted |
| ☐ | WS-10 | Color-coded cleaning-tool set | Dedicated brushes, squeegees and cloths by hygiene zone. | Essential | Complete set for bakery and separate allergen-control tasks. | None. | As required |  | Not Submitted |
| ☐ | WS-11 | Lidded waste and recycling bins | Hands-free lids where appropriate; cleanable and clearly labeled. | Essential | Capacity based on waste study and removal frequency. | None. | As required |  | Not Submitted |
| ☐ | WS-12 | Approved bakery dust vacuum | Use equipment appropriate to the assessed flour-dust hazard. | Essential | Collection capacity and filtration matched to cleaning plan. | Electrical; certification and grounding as required. | 1 |  | Not Submitted |
| ☐ | WS-13 | Sanitizer test kit and dispensers | Supports verification of chemical concentration and hygiene controls. | Essential | Test range matched to approved sanitizer. | None. | As required |  | Not Submitted |

12. Internal Transport & Distribution

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | TD-01 | Sheet-pan transport trolley | Compatible with tray standard, elevators and internal routes. | Essential | Tray capacity based on outlet dispatch wave. | None. | As required |  | Not Submitted |
| ☐ | TD-02 | Insulated hot transport cart | Maintains temperature for banquet and remote outlets. | Optional | Pan/tray capacity based on peak route and holding time. | Electrical for active holding; none for passive type. | As required |  | Not Submitted |
| ☐ | TD-03 | Refrigerated transport cart | For chilled desserts and sensitive fillings. | Optional | Capacity and battery/runtime based on longest route. | Electrical/battery; charging location. | As required |  | Not Submitted |
| ☐ | TD-04 | Ambient bakery transport cart | Enclosed, cleanable and protected from contamination. | Essential | Shelf/tray capacity based on daily distribution plan. | None. | As required |  | Not Submitted |
| ☐ | TD-05 | Cake transport trolley | Stable shelf geometry and restraints for decorated cakes. | Essential | Number of cakes and maximum diameter/height. | None or refrigerated depending on model. | 1 |  | Not Submitted |
| ☐ | TD-06 | Reusable delivery crates and totes | Stackable, washable and labeled by outlet or route. | Essential | Quantity based on routes, returns and cleaning cycle. | None. | As required |  | Not Submitted |

13. Safety, Compliance & Monitoring

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | SC-01 | Machine guards and interlocks | Verify all moving parts, bowls, belts and access doors are protected. | Essential | Manufacturer-standard and compliant with project requirements. | Integrated with equipment electrical controls. | Per machine |  | Not Submitted |
| ☐ | SC-02 | Emergency-stop stations | Clearly accessible and identified at relevant powered equipment. | Essential | Number and position based on risk assessment and layout. | Electrical/control wiring. | As required |  | Not Submitted |
| ☐ | SC-03 | Lockout/tagout kit | Department kit for authorized maintenance and isolation procedures. | Essential | Locks, tags and devices matched to isolation points. | None. | 1 |  | Not Submitted |
| ☐ | SC-04 | Fire-extinguisher set | Type, quantity and mounting determined by fire consultant/local code. | Essential | Coverage based on hazards, floor area and travel distance. | None. | As required |  | Not Submitted |
| ☐ | SC-05 | First-aid kit | Food-service appropriate and located for rapid access. | Essential | Stock level based on staffing and local requirements. | None. | 1 |  | Not Submitted |
| ☐ | SC-06 | PPE station | Heat gloves, cut protection, aprons, eye protection and hearing protection as assessed. | Essential | Sets based on maximum shift staffing. | None. | 1 |  | Not Submitted |
| ☐ | SC-07 | Anti-fatigue and slip-resistant mats | Beveled edges and cleanable construction. | Essential | Coverage at prolonged standing workstations. | None. | As required |  | Not Submitted |
| ☐ | SC-08 | Gas detection and interlock system | Required where specified by local code or project risk assessment. | Optional | Sensor and valve coverage based on gas equipment layout. | Electrical, control wiring and gas-valve interface. | 1 |  | Not Submitted |
| ☐ | SC-09 | Flour-dust extraction/collection system | Engineer where production volume and dust assessment require. | Optional | Airflow and capture points based on dust-generation study. | Electrical, ducting, grounding and safe discharge. | 1 |  | Not Submitted |
| ☐ | SC-10 | Digital temperature-monitoring system | Central alerts and records for cold rooms and critical equipment. | Optional | Number of probes/zones and data-retention requirement. | Electrical/network; battery backup. | 1 |  | Not Submitted |

14. Utilities, Installation & Commissioning

| ✓ | Item ID | Equipment / Item | Technical / Procurement Notes | Essential / Optional | Capacity / Sizing Criteria | Utility Requirement | Quantity | Supplier | Approval Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | UI-01 | Exhaust hood or canopy | Coordinate appliance duty, capture area, fire protection and access. | Optional | Air volume based on appliance heat/moisture and consultant design. | Electrical, ductwork, make-up air and fire-system interface. | Project-specific |  | Not Submitted |
| ☐ | UI-02 | Condensate hood | For steam-producing equipment where grease hood is not required. | Optional | Capture area and airflow based on appliance plume. | Electrical and ductwork as designed. | Project-specific |  | Not Submitted |
| ☐ | UI-03 | Make-up air system | Balanced with exhaust to protect comfort and appliance operation. | Optional | Air volume coordinated with total exhaust and room pressure. | Electrical, controls, heating/cooling as designed. | Project-specific |  | Not Submitted |
| ☐ | UI-04 | Backflow-prevention devices | Provide where required on connected water-fed equipment. | Essential | Device type and size based on connection and local code. | Potable water connection. | As required |  | Not Submitted |
| ☐ | UI-05 | Drain-tempering kit | Protects drainage system from high-temperature discharge. | Optional | Flow capacity matched to connected oven or warewasher. | Cold water, drain and control connection. | As required |  | Not Submitted |
| ☐ | UI-06 | Gas regulator and safety train | Manufacturer-approved pressure control, isolation and safety components. | Optional | Sized for total connected gas load and supply pressure. | Gas, electrical controls and ventilation interface. | As required |  | Not Submitted |
| ☐ | UI-07 | Equipment isolation switches | Local lockable isolation for powered equipment. | Essential | Rating matched to each equipment circuit. | Electrical. | Per powered item |  | Not Submitted |
| ☐ | UI-08 | Mobile-equipment restraint kits | Gas, water or electrical restraints where mobile units are connected. | Essential | Rated for appliance and connector arrangement. | Mechanical installation. | As required |  | Not Submitted |
| ☐ | UI-09 | Seismic anchoring kits | Use where required by project structural criteria. | Optional | Designed for equipment mass, center of gravity and site zone. | Structural fixing. | As required |  | Not Submitted |
| ☐ | UI-10 | Equipment plinths and stands | Correct working height, cleanability and service access. | Essential | Dimensions and load rating matched to equipment. | None; floor fixing where required. | As required |  | Not Submitted |
| ☐ | UI-11 | Food-grade compressed-air system | For depositors or spray systems; include filtration and moisture control. | Optional | Pressure and flow based on simultaneous connected demand. | Electrical, air piping and drainage. | 1 |  | Not Submitted |
| ☐ | UI-12 | Critical spare-parts and start-up kit | Separate commissioning spares, consumables and long-lead critical parts. | Essential | Based on manufacturer recommendation and local service availability. | None. | 1 set |  | Not Submitted |

Final Project Approval

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Executive Chef / Pastry Chef |  |  |  |
| Hotel Procurement |  |  |  |
| Kitchen Consultant |  |  |  |
| MEP / Engineering |  |  |  |
| Project Management |  |  |  |