## Savings
Hotel laundry water reuse savings
Currency | USD |  | Annual steady state. Change the amber cells on Inputs. All defaults are illustrative.
Results
Net avoided purchased water | 1171.2 | m³/year | Purchased-water reduction after incremental freshwater use.
Net avoided water per dry linen weight | 3.904 | L/kg | Normalize before/after results to the same dry linen weight and wash quality.
Annual net operating benefit | 684.8 | USD/year | Water, eligible sewer and measured heat savings less incremental operating costs.
Simple payback | 58.4112 | years | Installed cost ÷ positive annual net benefit. Does not discount future cash flows.
Payback limitation |  |  | Simple payback excludes financing, taxes, escalation, asset life and replacement timing.
Annual water balance
Baseline purchased water | 3600 | m³/year | Annual dry linen weight × baseline L/kg ÷ 1,000.
Eligible capture stream | 1800 | m³/year | Baseline volume × eligible fraction. Excludes streams the system cannot accept.
Recovered water after treatment losses | 1440 | m³/year | Eligible stream × treatment yield. Yield already deducts reject and treatment losses.
Recovery matched to usable wash demand | 1296 | m³/year | Treated recovery × utilization while running. Deducts surplus and mismatch, not downtime.
Gross freshwater displacement | 1231.2 | m³/year | Matched recovery × volume-weighted availability. Deducts downtime once.
Baseline volume outside eligible stream | 1800 | m³/year
Treatment reject and recovery losses | 360 | m³/year
Unused treated recovery | 144 | m³/year
Recovery unavailable during downtime | 64.8 | m³/year
Displacement plus unrecovered baseline | 3600 | m³/year | Sum of rows 17–21 must equal baseline purchased water in row 13.
Incremental freshwater for recovery system | 60 | m³/year | Extra potable cleaning/backwash/top-up demand, not the baseline washer fill.
Purchased water with recovery | 2428.8 | m³/year | Baseline minus gross displacement plus incremental freshwater.
Net avoided purchased water | 1171.2 | m³/year | A negative value means the recovery system increases purchased water.
Net reduction versus baseline | 32.53%
Purchased water with recovery per dry linen | 8.096 | L/kg
Net avoided water per dry linen | 3.904 | L/kg
Annual utility savings
Purchased-water savings | 4684.8 | USD/year | Net avoided purchased water × marginal water tariff.
Volume eligible for reduced sewer billing | 0 | m³/year | Net avoided purchased water × confirmed sewer credit fraction. Default credit is 0%.
Sewer bill savings | 0 | USD/year | Eligible sewer-billing volume × marginal sewer tariff. Fixed charges remain excluded.
Net measured thermal-energy savings | 0 | USD/year | Billed thermal energy avoided × matching tariff. No heat credit is assumed by default.
Total annual utility savings | 4684.8 | USD/year
Annual incremental costs and payback
Electricity | 600 | USD/year | Incremental annual electricity × marginal electricity tariff.
Chemicals and consumables | 1000 | USD/year | Includes incremental process chemicals, filters, membranes and other consumables.
Labor | 800 | USD/year
Sampling, testing and service | 1200 | USD/year
Incremental wastewater / residuals disposal | 400 | USD/year | Additional disposal or discharge charges. Do not repeat costs already included in a tariff.
Total annual incremental operating cost | 4000 | USD/year
Annual net operating benefit | 684.8 | USD/year
Total installed capital cost | 40000 | USD | Use the complete commissioned installation cost on Inputs.
Simple payback | 58.4112 | years | n.a. means missing/invalid input or no positive annual net benefit.

## Inputs
Water reuse assumptions
Edit amber cells |  |  | Red inputs need correction. A missing or invalid required input makes affected results n.a.
Currency label | USD |  | Use one currency for all prices. Changing the label does not convert any amount.
Water volume drivers
Annual dry linen processed | 300000 | kg/year | Use dry textile mass, including consistent treatment of rewash across before/after periods.
Baseline purchased water per dry linen | 12 | L/kg | Measure the same laundry boundary, linen mix and accepted wash quality.
Eligible capture fraction | 50% | fraction | Baseline washer freshwater yielding eligible collectable discharge, before treatment loss.
Treatment yield | 80% | fraction | Recovered output ÷ eligible feed. Already deducts treatment reject/losses.
Recovery utilization | 90% | fraction | While running: treated water replacing eligible fills. Excludes surplus/purge, not downtime.
Volume-weighted recovery availability | 95% | fraction | Share of annual eligible recovery opportunity served; clock uptime needs uniform flow.
Incremental freshwater demand | 60 | m³/year | Annual extra potable backwash, cleaning and top-up. Exclude baseline washer makeup.
Utility billing and energy
Marginal purchased-water tariff | 4 | currency/m³ | Avoidable volume charge only. Exclude fixed account charges and unearned tier discounts.
Marginal sewer tariff | 5 | currency/m³ | A tariff does not establish eligibility. Confirm the actual billing method with the utility.
Confirmed sewer bill credit fraction | 0% | fraction | 0% until verified. Use 100% only if each net m³ avoided reduces billed sewer volume by 1 m³.
Net measured billed thermal energy avoided | 0 | kWh/year | Default 0. Include added reheating, storage loss and heater efficiency. Negative is allowed.
Matching thermal-energy tariff | 0.05 | currency/kWh | Use billed fuel/input kWh, not useful-heat kWh. Avoid double counting heat and electricity.
Incremental recovery-system electricity | 6000 | kWh/year | Include pumps and treatment auxiliaries across the same annual operating boundary.
Marginal electricity tariff | 0.1 | currency/kWh | Use avoidable energy charges. Add demonstrable demand-charge effects to the cost study.
Annual incremental operating costs
Incremental chemicals | 0 | currency/year | Illustrative placeholder. Replace with quoted or metered incremental chemical cost.
Filters, membranes and other consumables | 1000 | currency/year | Annualized consumables. Do not include the same replacements in service cost.
Incremental labor | 800 | currency/year | Include paid inspection, cleaning, filter changes and recovery-system recordkeeping.
Sampling and laboratory testing | 0 | currency/year | Illustrative placeholder. Replace with the required local/pilot testing cost.
Service and maintenance | 1200 | currency/year | Incremental contracted service and repairs; avoid duplicated labor/consumables.
Wastewater / residuals disposal | 400 | currency/year | Incremental reject/sludge/disposal charges beyond utility tariffs already counted.
Capital cost
Total installed and commissioned cost | 40000 | currency | Equipment, tanks, piping, controls, design, approvals, installation and commissioning.
Accounting boundary |  |  | These factors are a screening model. Use metered net freshwater displacement for final acceptance.
No duplicate deductions |  |  | Do not subtract reject or downtime again. Enter only extra freshwater not already netted from recovery.
Illustrative inputs |  |  | All numbers are fictional, including zero chemical/testing placeholders. Replace them before purchase.
Reference |  |  | PNNL-23535 (2014), pp. 17–18: dry-linen normalization, utilities and added electricity.
PNNL: Wastewater Recycling Technology |  |  | https://www.pnnl.gov/main/publications/external/technical_reports/PNNL-23535.pdf
Reference |  |  | DOE FEMP BMP #14: recovered output/feed and treatment reject are distinct water flows.
DOE FEMP: Alternative Water Sources |  |  | https://www.energy.gov/cmei/femp/best-management-practice-14-alternative-water-sources
Source limits |  |  | References explain measurement concepts. They do not validate these defaults or local sewer credits.
Matched comparison |  |  | Same accepted dry linen output, wash programs, rewash and start/end tank inventories.